## Sheet1
| D8 Advance daily log |  | Daily check | Instrument | Hardware | X-Rays off
Date | User | PI | performed | OK | changed* | when done
For questions contact Nina at jruprecht@unr.edu, CB229, Phone X25765, Cell 917-476-5641
* Motor. Slits: Ni filter on second. side, no extra slits; Gobel mirror: 0.1mm slit on prim. side, no Ni filter