SIL Rules

- New users must obtain training on a specific instrument by the SIL staff. Fellow students are not allowed to train other students on SIL equipment.

- Users of the SIL are not allowed to make any modifications to the instrumentation other than designated software settings.

- Users are not allowed to open the case of any computer, instrument, equipment unless you have the written permission of the Direct of Instrumentation to do so and there exists a written SOP for what they plan to do.

- I acknowledge that instrumentation in the SIL possess lethal levels of electrical power and will not try and repair, adjust, or tamper with the internal workings of any SIL instrumentation or external power supplies.

- Users will vacate the SIL immediately if any building alarm goes off.

- Food and drink are not allowed in the SIL labs.

- Problems with instrumentation will be reported promptly to the SIL staff by filling out the “SIL instrumentation problem” form located on argenta (item #19).

- I have watched the NMR tube safety video and will adhere to it.

- No biohazards are allowed in the SIL.

User Signature:___________________________________________________

User Printed Name:_______________________________________________

User Email:______________________________________________________

Status (undergrad, grad, postdoc, other):______________________________

PI:_____________________________________________________________

Date:___________________________________________________________