## Sheet1
Instrument | description | Make | Model | Serial Number
V500 | 500 MHz liquids NMR | Varian | VNMRS | 41074
V400 | 400 MHz liquids NMR | Varian | VNMRS | 41073
400-MR | 400 MHz liquids NMR | Varian | 400-MR | SA61124
400-MR | 400 MHz liquids NMR | Varian | 400-MR | MR1005W009
ssNMR | 400 MHz solid state NMR | Tecmag | Discovery | 100PS-178
EPR | electron paramagnetic spectrometer | Bruker | EMX Plus | 1844
D2 | 300W powder x-ray diffractometer | Bruker | D2 Phaser | 209880
D8 | 1600W mult-stage x-ray diffractometer | Bruker | D8 Advance | 209899
x-ray | single crystal x-ray spectrometer | Bruker | SmartApex | 2511
TOFMS | time-of-flight mass spectrometer | Agilent | G6230B | SG14090001
Waters | quadrupole mass spectrometer | Waters | ZQ 4000 | MAA266
LC | waters separation module | Waters | E2695 | C10SMA956A
microwave | synthesis microwave | CEM | Discover/908005 | DS-4005
FTIR | fourier transform infrared spectrometer | Thermo | Nicolet 6700 | AMM0900303
UV/VIS | UV/VIS spectrometer | Shimadzu | UV2550 | A10844438053
UV/VIS | UV/VIS spectrometer | Shimadzu | UV2550 | A10844438062CS
GCMS | Gas chromatography mass spectrometer | Varian | Saturn 2200 | 479111098
GC | Gas chromatography | Agilent | 7890A | CN10921012
| injector | Agilent | G4513A | CN91200371
GCMS | Gas chromatography | Agilent | 7890A | CN10231056
| mass spectrometer | Agilent | 5975C | 4510232506
| injector | Agilent | G4513A | CN10180011
| Autosampler | Agilent | G4514A | CN10210028
MALDI | MALDI time-of-flight | Bruker | Microflex LFR | 256969-00133
fluorence | fluorence specrometer | Horiba | fluoromax-3 | 3467A
Raman microscope | confocal microscope raman spectrometer | Renishaw | inVia | H41751
FTIR microscope | FTIR spectrometer | Bruker | Tensor 27 | T27.1017.05
FTIR microscope | microscope | Bruker | Hyperion | Hyp 0373.04
laser | general purpose research laser | Continuum | Minilite | 14732
nitrogen generator | generates pure nitrogen for mass spectrometers, FTIR's, DCS, and TGA | Parker Balston | 75-78 | IEC1010
DSC | differential scanning calorimeter | TA Instruments | Q20 | 0020-1726
TGA | thermogravimeteric analysis | TA Instruments | Q50 | 0050-1474
STM | scanning tunneling microscope | Nanosurf | STM scan head | 3-08-872
AFM | atomic force microscope | Nanosurf | AFM Scan head | 23-07-511
IC | ion chromatography | Dionex | ICS-1500 | 5070152